## Human-Centered Device Design using the Stanford Process

## Emphathize – Define – Ideate – Prototype – Test

## “You've got to start with the customer experience and work backwards to the technology”

### 1. Empathize (Imagined User Profile)

- Goal: Understand the ergonomic and experiential needs of one imagined average user, and define three measurable functional goals.

- Approach:

Construct a single composite persona who would use or wear the 3D-printed device, and describe his / her characteristics:

Describe:

  - Characteristics of the relevant part (e.g., wrist size, finger length, curvature).

  - Frustrations (poor fit, discomfort, limited adjustability).

  - A short scenario describing everyday use.

- Output: A user profile and empathy map summarizing measurable needs and context of use.

### 2. Define (Problem Framing)

- Goal: Frame a clear, measurable design problem.

- Approach:

Use the Point-of-View (POV) structure:

  - User: [Imagined persona]

  - Need: [Quantifiable physical or ergonomic requirement]

  - Insight: [Why current options fail or why customization helps]

  - Three Measurable Functional Goals, ex:

Comfort — (ex: fit tolerance < 2 mm and pressure uniformity)

Usability — (ex: attach/detach < 10 s or one-handed operation, weight…)

Stability/Support — no slippage in motion, not broken after N use.

  - Create a “How might we…” question integrating measurable outcomes, e.g.,
“How might we design a wrist brace that maintains < 2 mm fit tolerance and can be worn or removed in under 10 seconds?”

- Output: One quantified design challenge statement.

### 3. Ideate (3×3 Idea Grid Method)

- Goal: Generate structured, practical design variations.

- Approach:

  - Draw a 3×3 grid:

Columns = ex: Comfort, Usability, Stability

Rows = Minimal, Moderate, Bold design variations

  - Fill each cell with a sketch or short written idea (9 total).

  - Select one concept balancing function and ease of fabrication.

- Output: One final concept chosen for digital modeling.

|  | Minimal | Moderate | Bold |
| --- | --- | --- | --- |
| Goal 1 |  |  |  |
| Goal 2 |  |  |  |
| Goal 3 |  |  |  |

### 4. Prototype (3D Modeling and Digital Validation Before Printing)

- Goal: Build and validate the 3D model digitally before committing to physical printing.

- Steps:

Preparing: 3D scan, mesh cleaning, digital modeling

Pre-Print Validation:

- Validate the 3D model fit the body part model

- Ensure enough clearance

- Visual motion simulation (Use CAD joint or rotation tools to test the motion)

- Printability Review (make sure you )

- Finalize the model with TA

- Output: A digitally validated, print-ready model with basic geometric and usability verification.

### 5. Test (Evaluation Round)

- Goal: Evaluate the Measurable Functional Goals of the printed device using the predefined method

- Approach:

  - Conduct one evaluation session (peer or self-testing).

  - Record (ex:):

    - Comfort: fit deviation (mm), comfort rating (1–5)

    - Usability: attach/remove time (s), ease-of-use rating (1–5)

    - Stability: observed slippage (mm) or angle drift (°)

  - Summarize findings in a small target vs. result table.

- How would you further refine the model?:

- Output: A short evaluation report confirming how the final print meets or deviates from the initial three goals.

## Human-Centered Device Design using the Stanford Process

## Emphathize – Define – Ideate – Prototype – Test

## “You've got to start with the customer experience and work backwards to the technology”

### 1. Empathize (Imagined User Profile)

- Goal: Understand the ergonomic and experiential needs of one imagined average user, and define three measurable functional goals.

- Approach:

Construct a single composite persona who would use or wear the 3D-printed device, and describe his / her characteristics:

Describe:

  - Characteristics of the relevant part (e.g., wrist size, finger length, curvature).

  - Frustrations (poor fit, discomfort, limited adjustability).

  - A short scenario describing everyday use.

- Output: A user profile and empathy map summarizing measurable needs and context of use.

### 2. Define (Problem Framing)

- Goal: Frame a clear, measurable design problem.

- Approach:

Use the Point-of-View (POV) structure:

  - User: [Imagined persona]

  - Need: [Quantifiable physical or ergonomic requirement]

  - Insight: [Why current options fail or why customization helps]

  - Three Measurable Functional Goals, ex:

Comfort — (ex: fit tolerance < 2 mm and pressure uniformity)

Usability — (ex: attach/detach < 10 s or one-handed operation, weight…)

Stability/Support — no slippage in motion, not broken after N use.

  - Create a “How might we…” question integrating measurable outcomes, e.g.,
“How might we design a wrist brace that maintains < 2 mm fit tolerance and can be worn or removed in under 10 seconds?”

- Output: One quantified design challenge statement.

### 3. Ideate (3×3 Idea Grid Method)

- Goal: Generate structured, practical design variations.

- Approach:

  - Draw a 3×3 grid:

Columns = ex: Comfort, Usability, Stability

Rows = Minimal, Moderate, Bold design variations

  - Fill each cell with a sketch or short written idea (9 total).

  - Select one concept balancing function and ease of fabrication.

- Output: One final concept chosen for digital modeling.

|  | Minimal | Moderate | Bold |
| --- | --- | --- | --- |
| Goal 1 |  |  |  |
| Goal 2 |  |  |  |
| Goal 3 |  |  |  |

### 4. Prototype (3D Modeling and Digital Validation Before Printing)

- Goal: Build and validate the 3D model digitally before committing to physical printing.

- Steps:

Preparing: 3D scan, mesh cleaning, digital modeling

Pre-Print Validation:

- Validate the 3D model fit the body part model

- Ensure enough clearance

- Visual motion simulation (Use CAD joint or rotation tools to test the motion)

- Printability Review (make sure you )

- Finalize the model with TA

- Output: A digitally validated, print-ready model with basic geometric and usability verification.

### 5. Test (Evaluation Round)

- Goal: Evaluate the Measurable Functional Goals of the printed device using the predefined method

- Approach:

  - Conduct one evaluation session (peer or self-testing).

  - Record (ex:):

    - Comfort: fit deviation (mm), comfort rating (1–5)

    - Usability: attach/remove time (s), ease-of-use rating (1–5)

    - Stability: observed slippage (mm) or angle drift (°)

  - Summarize findings in a small target vs. result table.

- How would you further refine the model?:

- Output: A short evaluation report confirming how the final print meets or deviates from the initial three goals